## Bid Quantities for Bidders
COTTAGES AT PARMER RANCH
BID SET
2021-08-21
Item No. | Description of Item | Approx. | Unit | Unit Price | Total
Qty
A. EROSION AND SEDIMENTATION CONTROL
A1 | Furnish & Install & Remove Silt Fence, complete as detailed and specified | 2747 | LF |  | 0
A2 | Furnish & Install & Remove Stabilized Construction Entrance, complete as detailed and specified | 2 | EA |  | 0
A3 | Furnish & Install & Remove 10’ Curb Inlet Protection, complete as detailed and specified | 15 | EA |  | 0
A4 | Furnish & Install & Remove Tree Protection Fence, complete as detailed and specified | 4623 | LF |  | 0
A5 | Clearing and Grubbing, complete in place as detailed and specified | 68376 | SY |  | 0
A6 | Furnish, Install, Maintain & Remove Concrete Washout Basin, complete as detailed and specified | 1 | LS |  | 0
EROSION AND SEDIMENTATION CONTROL SUBTOTAL |  |  |  |  | 0
B. PAVEMENT AND SUBGRADE
B1 | Excavate material within project limits, as detailed and specified | 1 | LS |  | 0
B2 | Furnish & Place Embankment within project limits, complete in place as detailed and specified | 1 | LS |  | 0
B3 | Subgrade Preparation, complete in place as detailed and specified | 11932 | SY |  | 0
B4 | Furnish & Install 8” Compacted Flex Base, complete in place as detailed and specified | 11932 | SY |  | 0
B5 | Furnish & Install Curb Backfill, complete in place as detailed and specified | 6232 | LF |  | 0
B6 | Furnish & Install 2” HMAC Type D Asphalt, complete in place as detailed and specified | 9879 | SY |  | 0
B7 | Furnish & Install GrassPave2 and 8" Compacted Base Material, complete in place as detailed and specified | 190 | SY |  | 0
B8 | Furnish & Install 4” Mountable Curb and Gutter, complete in place as detailed and specified | 5984 | LF |  | 0
B9 | Furnish & Install Ribbon Curb, complete in place as detailed and specified | 898 | LF |  | 0
B10 | Furnish & Install Curb Ramp, complete in place as detailed and specified | 3 | EA |  | 0
PAVEMENT AND SUBGRADE SUBTOTAL |  |  |  |  | 0
C. DRAINAGE IMPROVEMENTS
C1 | Furnish & Install 18” CLASS III RCP (all depths), complete in place as detailed and specified | 567 | LF |  | 0
C2 | Furnish & Install 24” CLASS III RCP (all depths), complete in place as detailed and specified | 1019 | LF |  | 0
C3 | Furnish & Install 30” CLASS III RCP (all depths), complete in place as detailed and specified | 477 | LF |  | 0
C4 | Furnish & Install 36” CLASS III RCP (all depths), complete in place as detailed and specified | 222 | LF |  | 0
C5 | Furnish & Install 42” CLASS III RCP (all depths), complete in place as detailed and specified | 381 | LF |  | 0
C6 | Furnish & Install & Remove Trench Safety for Stormwater | 2666 | LF |  | 0
C7 | Furnish & Install 4’ Diameter Stormwater Manhole (all depths), complete in place as detailed and specified | 1 | EA |  | 0
C8 | Furnish & Install 5’x5’ Junction Box with Stormwater Manhole (all depths), complete in place as detailed and specified | 4 | EA |  | 0
C9 | Furnish & Install 6’x6’ Junction Box with Stormwater Manhole (all depths), complete in place as detailed and specified | 1 | EA |  | 0
C10 | Furnish & Install 10’ Curb Inlet (all depths), complete in place as detailed and specified | 15 | EA |  | 0
DRAINAGE IMPROVEMENTS SUBTOTAL |  |  |  |  | 0
D. WATER IMPROVEMENTS
D1 | Furnish & Install 8” C900 PVC DR-18 Water Line including pipe, fittings, restraints, and all other appurtenances (all depths), complete in place as detailed and specified | 3176 | LF |  | 0
D2 | Furnish & Install 12” C900 PVC DR-18 Water Line including pipe, fittings, restraints, and all other appurtenances (all depths), complete in place as detailed and specified | 136 | LF |  | 0
D3 | Furnish & Install 4” SCH 40 PVC Irrigation Sleeves, complete in place as detailed and specified | 550 | LF |  | 0
D4 | Furnish & Install 8” Gate Valve and Box, complete in place as detailed and specified | 8 | EA |  | 0
D5 | Furnish & Install 12” Gate Valve and Box, complete in place as detailed and specified | 1 | EA |  | 0
D6 | Furnish & Install Fire Hydrant Assembly with 6” Gate Valve, complete in place as detailed and specified | 8 | EA |  | 0
D7 | Furnish & Install & Remove Trench Safety for Water/Irrigation | 3862 | LF |  | 0
D8 | Furnish Trench Safety Design for Water/ Irrigation | 1 | LS |  | 0
D9 | Connect to Existing Water Line | 2 | EA |  | 0
D10 | Furnish and Install cap for future connection | 2 | EA |  | 0
D11 | Furnish and Install 8” full circle tapping sleeve and 8” gate valve (existing 12” water service) | 1 | EA |  | 0
D12 | Furnish and Install Double Water Service connection per detail, complete in place as detailed and specified | 29 | EA |  | 0
D13 | Furnish and Install Single Water Service connection per detail, complete in place as detailed and specified | 20 | EA |  | 0
D14 | Furnish & Install Landscaping Connection/Service including 3" Irrigation Meter, Backflow Preventor, and 3" Gate Valve, complete in place as detailed and specified | 1 | LS |  | 0
WATER IMPROVEMENTS SUBTOTAL |  |  |  |  | 0
E. WASTEWATER IMPROVEMENTS
E1 | Furnish & Install 8” SDR-26 PVC 0'-8’, complete in place as detailed and specified | 2339 | LF |  | 0
E2 | Furnish & Install 8” SDR-26 PVC 10'-12’, complete in place as detailed and specified | 391 | LF |  | 0
E3 | Furnish & Install 8” DR-26 PVC 8'-10’, complete in place as detailed and specified | 40 | LF |  | 0
E4 | Furnish & Install 8” DR-26 PVC 10'-12’, complete in place as detailed and specified | 20 | LF |  | 0
E5 | Furnish & Install 4' diameter wastewater manhole (0'-8' depths), complete in place as detailed and specified | 15 | EA |  | 0
E6 | Furnish & Install 4' diameter wastewater manhole (extra depth), complete in place as detailed and specified | 11 | VF |  | 0
E7 | Furnish & Install & Remove Trench Safety for Wastewater | 2790 | LF |  | 0
E8 | Furnish and Install Double Wastewater Service connection per detail, complete in place as detailed and specified | 36 | EA |  | 0
E9 | Furnish and Install Single Wastewater Service connection per detail, complete in place as detailed and specified | 6 | EA |  | 0
E10 | Connect to existing wastewater stub out | 1 | EA |  | 0
WASTEWATER IMPROVEMENTS SUBTOTAL |  |  |  |  | 0
F. SIGNING, STRIPING, AND SITE IMPROVEMENTS
F1 | Furnish & Install Stop Sign and Street Name Signs, complete in place as detailed and specified | 4 | EA |  | 0
F2 | Furnish & Install 24" White Stop Bar, complete in place as detailed and specified | 48 | SF |  | 0
F3 | Furnish & Install Curb Stops, complete in place as detailed and specified | 22 | EA |  | 0
F4 | Furnish & Install Fire Lane Striping, complete in place as detailed and specified | 3287 | LF |  | 0
F5 | Furnish & Install Fire Lane Signs, complete in place as detailed and specified | 19 | EA |  | 0
F6 | Furnish & Install Right-Turn Lane Striping, complete in place as detailed and specified | 1 | LS |  | 0
F7 | Furnish & Install End of Road Barricade, complete in place as detailed and specified | 2 | EA |  | 0
F8 | Furnish & Install Blue Reflectorized Buttons, complete in place as detailed and specified | 8 | EA |  | 0
F9 | Furnish & Install & Maintain Traffic Control at Connection to Parmer Ranch Blvd. | 1 | LS |  | 0
F10 | Furnish & Install Tree Well, complete in place as detailed and specified | 2440 | SF |  | 0
F11 | Furnish & Install Revegetation, complete in place as detailed and specified | 28072 | SY |  | 0
SIGNING, STRIPING, AND SITE IMPROVEMENTS SUBTOTAL |  |  |  |  | 0
G. MISCELLANEOUS
G1 | Mobility and Move-In Related Expenses, Bonds, and Insurance, not to exceed 5% of Total Bid | 1 | LS |  | 0
G2 | Provide SWPPP Setup, Maintenance and Reporting | 1 | LS |  | 0
MISCELLANEOUS SUBTOTAL |  |  |  |  | 0
TOTAL |  |  |  |  | 0

## Alternate 1 - Water
COTTAGES AT PARMER RANCH
ALTERNATE 1 – WATER EXHIBIT
2021-08-21
Item No. | Description of Item | Approx. | Unit | Unit Price | Total
Qty
ALTERNATE 1 – D. WATER IMPROVEMENTS
ALT D1 | Furnish & Install 12” C900 PVC DR-18 Water Line including pipe, fittings, restraints, and all other appurtenances (all depths), complete in place as detailed and specified | 136 | LF |  | 0
ALT D2 | Furnish & Install 8” C900 PVC DR-18 Water Line including pipe, fittings, restraints, and all other appurtenances (all depths), complete in place as detailed and specified | 126 | LF |  | 0
ALT D3 | Furnish & Install 6” C900 PVC DR-18 Water Line including pipe, fittings, restraints, and all other appurtenances (all depths), complete in place as detailed and specified | 2981 | LF |  | 0
ALT D4 | Furnish & Install 3” SCH 80 PVC Water Line including pipe, fittings, restraints, and all other appurtenances (all depths), complete in place as detailed and specified | 3044 | LF |  | 0
ALT D5 | Furnish & Install 12” Gate Valve and Box, complete in place as detailed and specified | 1 | EA |  | 0
ALT D6 | Furnish & Install 8” Gate Valve and Box, complete in place as detailed and specified | 2 | EA |  | 0
ALT D7 | Furnish & Install 6” Gate Valve and Box, complete in place as detailed and specified | 6 | EA |  | 0
ALT D8 | Furnish & Install Fire Hydrant Assembly with 6” Gate Valve, complete in place as detailed and specified | 8 | EA |  | 0
ALT D9 | Furnish & Install 6” Double Check Detector Assembly, complete in place as detailed and specified | 2 | EA |  | 0
ALT D10 | Furnish & Install 3” Gate Valve and Box, complete in place as detailed and specified | 8 | EA |  | 0
ALT D11 | Furnish & Install 3” Meter with Vault, complete in place as detailed and specified | 1 | EA |  | 0
ALT D12 | Connect to Existing Water Line | 2 | EA |  | 0
ALT D13 | Furnish and Install cap for future connection | 2 | EA |  | 0
ALT D14 | Furnish and Install Double Water Service connection per detail, complete in place as detailed and specified | 29 | EA |  | 0
ALT D15 | Furnish and Install Single Water Service connection per detail, complete in place as detailed and specified | 20 | EA |  | 0
ALT D16 | Furnish & Install Landscaping Connection/Service including 3" Irrigation Meter, Backflow Preventor, and 3" Gate Valve, complete in place as detailed and specified | 1 | LS |  | 0
ALT D17 | Furnish & Install & Remove Trench Safety for Water/Irrigation | 6287 | LF |  | 0
ALT D18 | Furnish Trench Safety Design for Water/ Irrigation | 1 | LS |  | 0
ALTERNATE 1 – WATER IMPROVEMENTS TOTAL |  |  |  |  | 0